STATION 7: CAN YOU SEE? (Mara)

You have to answer the following questions with the help of the experiment

| - Measuring Classroom (300 lx): - How bright is it in the dimming room? - What do you have to do if it´s too bright/ dark? | Measuring: in the dark |
| --- | --- |
| - Is the daylight enough or should there be extra light? (It should be 300 lx) | Measuring: daylight without extra light |
| - How bright is it with extra light? - What can you do when it´s too bright (to save Energy)? | Measuring: now with extra light |
| - What can you do when it´s too dark? - Which parts of light are important (when it´s too dark)? | Measuring: with different parts of light in your classroom (window, wall, middle and more..) |

Part 2:

How do you install a lighting profile

- sketch a floor plan of your room (worksheet) and mark your measuring points (middle of your tables)

- You have to close the shutters/blinds/etc. than turn your extra light on

- After 5 minutes you should measure the lighting with the luxmeter on your measuring points and write it down.

- You have to calculate the average of the measuring and compare it to the normal value of a classroom (300 lx)

What do you need

- an empty room which can be darken

- a luxmeter

- a calculator

- a floor plan

- (+ pens and rulers)

Rating

- You should make a sample solution.

- The group who is near to your solution gets the most points. You should rate the quality of the execution.

You should look at:

- You should wait when you turn on the lights. After waiting 5 minutes you can measure with the luxmeter, because the lights need their time to warm up.

- The sensor shouldn´t be darken by your school stuff or yourself. So, pay attention and look after the measurements under the table (like in the picture).

- Don´t shift the table, your measurements could change!

Useful tips to execute the experiment:

- mark the table you´re using

- the table should be empty

- use tape to fix the luxmeter

- get down the table when you want to measure (picture 2)

- watchers are permitted to produce no shadow

Worksheet Station 7

Group:

measuring height (table) in cm:

average of illuminance:

number of measuring points:

What to do:

Sketch the floor plan (one pattern = 1 meter). Mark your tables and Lights. Entering measuring points (in the middle of each table) and measured illuminance in the raster. Calculate the average of the measuring and write it down.