## Slide 1: Repair and technical maintenance at the hotel
Седат 10б

## Slide 2
Different types of maintenance generally followed in hotel industry include the following:
ROUTINE MAINTENANCE:
PREVENTIVE MAINTENANCE:
SCHEDULED MAINTENANCE:
EMERGENCY AND BREAKDOWN MAINTENANCE:

## Slide 3: ROUTINE MAINTENANCE
Activities pertain to the general upkeep of the property, occurring outside the formal work order systems, requiring no specific records of time or materials. • Recur on a daily or weekly i.e. on a regular basis viz. sweeping carpets, washing floors, cleaning readily accessible windows Cutting grass, cleaning guest rooms, shovelling snow, replacing burned out bulbs etc. • Relatively minimum skills required.

## Slide 4: PREVENTIVE MAINTENANCE
It is based on the principle that the continuous functioning of certain equipment & system components is essential to the habitability & productive process of a building & that these require periodic monitoring inspection servicing & maintenance to prevent their failure. • Much more directed, specific, having element of inspection & decision going beyond those generally engaged in by individuals in janitorial position. • Routine, recurring work, scheduled, recurs in much longer time frame. • Requires individuals with more advanced skills & training. • Activities performed based on the guidelines from the equipments manufacturers & the building engineer. • Actions prolong the life of piece of equipment + to minimize the breakdown of equipment , keep a facility in such condition that it may be utilized at its original or designed capacity & efficiency e.g.to keep the equipment operating at or near its rated level. • Initiated to delay the occurrence of a problem or to make a minor correction. • Very important in hotel industry where most important cost is the goodwill of customers.

## Slide 5
In good preventive maintenance procedures , user & maintenance departments should coordinate to minimize the equipment down time, costly repairs & interruption to make possible to plan & schedule maintenance work with least amount of interruption & for achieving max. production at min. repair cost. • One of the main objectives is to find any condition that may cause machine failure before such a breakdown occurs. • The basic preventive maintenance program consists of : a) Periodic inspection of machinery utilities & buildings frequency be determined by experience or by recommendations of manufactures till the experience is gained. b) Reporting of breakdown so that they can be analyzed & corrective action can be taken to prevent it from becoming repetitive. • Certain number of forms & records are necessary for any preventive maintenance program depending on the size of plant . • Sound operating procedures & planned preventive maintenance benefits: mechanical systems operating at design specifications , optimum reliability of equipment , extended life of equipment , maximum return on capital investment ,minimum operating costs, safety from hazards to personnel & property.

## Slide 6: SCHEDULED MAINTENANCE
Refers to activities initiated at the property based on a formal work order or a similar document that identifies a known problem or need. • Attempts to meet known needs in an orderly & timely manner consistent with overall needs & demands at the property.

## Slide 7: EMERGENCY AND BREAKDOWN MAINTENANCE
The principle of this approach is that the operation of certain equipment & system components is not functionally or economically critical & therefore does not warrant the need for periodic inspection. The approach presumes that the inspection is restricted to those components that require it into continuous function. E.g. lubrication of moving parts falls into this category. However, periodic calibration of control sensors is not required under breakdown program & would be checked only when design conditions were not maintained. • Both represent the poorly managed primary mode of operation of the engineering department.

## Slide 8
Emergency maintenance is an expensive services as the scheduled activities get disrupted , room may be removed from service causes guest discomfort / deterioration in the quality of the work place , delayed problem solving & high level of Inconvenience. • Breakdown maintenance is restoration of a facility to a condition substantially equivalent to its original or designed capacity and efficiency by replacement of parts, overhaul or reprocessing of materials after deterioration. Required when a piece of equipment or a structural component fails completely and must be repaired immediately as the operation will get shut down otherwise, and is the most expensive as there is potential for loss of business/production in addition to the cost of repair.